## Slide 1: Filter test bench algorithm verification
Use the data generator implanted by Wietze on the data generator
Wietze does the simulation in sending a specific frequency and save the output files. (19531Hz; 488281Hz; 683594Hz; '976563Hz; 1464844Hz 1953125Hz; 4882813Hz; 9765625Hz)
    Input files:
    Output files :
    The multiplex of the input and the output (expected out put for the test bench) : downsampled 32 (Due to 100MB interface)
Aim : verify the quality of the sinewave fitting algorithm and evaluate the consequence of the downsampling

## Slide 2: Fitting method
The fitting method will evaluate the amplitude and the phase at the output downsampled of the FPGA. We can then plot the gain, phase plot of the filter in repeating the process for several frequencies.

## Slide 3: Quality of the fitting method
Several tests has been done:
  Definition : Error defined here is the root mean squared between the data set and the sine wave reconstructed using (A, Phase) estimated
  We can then investigate the impact of the downsampling on the sine wave reconstruction
  We can also compare the quality of the fitting in constructing a sine wave with Matlab with almost same amplitude (max input file) and random phase and compare the fitting error of the (input/output of the filter) with the same number of points.

## Slide 4: Fitting method quality
Square root error plot in case of the input/output are downsampled or not. We can see the efficiency dropping when the downsapling is applied.
We can also see that perfect case using the fitting method with a Matlab sine generation gives far better results in the stopband.

## Slide 5: Fitting method quality : Stop band
Input about 10MHz
Output about 10MHz
We start seing the quantization noise
Comparison with Matlab sinewave can be use to detect quantisation noise
Is happening for very weak signal in the bandpass??
What power do we expect for sky noise??